## Test In
CEWO HOME PERFORMANCE DATA INTAKE SHEET
Test In Date |  | 2011-12-02 | Year Built |  | 1912 | Outside Temp |  |  | BPI Technician |  | David Fittipaldi
Location |  | Outside of URA | Years in Home |  | 1.5 | Inside Temp |  |  | Contractor Address |  | 3637 NE Sandy Blvd.
Energy Advisor |  | Ted Weintrout | Orientation |  | West | Construction |  | wood | City |  | Portland
Contractor |  | GreenSavers | Attached Bldg |  |  | Framing |  | platform | Zip Code |  | 97232
Customer Name |  |  | Buffered Area |  |  | Roof Vents |  | High | Phone Number |  | 503.223.8767
Address |  |  | Gas Utility |  | NWN | Roof Type |  | Asphalt | Combustion Issues |  | No
City |  | Portland | Electric Utility |  | PGE | Siding Type |  | Aluminum | Moisture Issues |  | No
Zip Code |  | 97206 | Basement |  | Conditioned | Windows |  | Single Wood | Asbestos |  | No
Phone Number |  |  | Crawlspace |  | None | Storm Windows |  | No | Knob and Tube |  | No
CEWO Project ID# |  | 3148 | Attic |  | Vented/Unconditioned | Fireplace |  | None | Vermiculite |  | No
BUILDING MODEL / DEMOGRAPHICS
Conditioned Square Footage | Basement | Floor Area Section 1 | Floor Area section 2 | Floor Area section 3 | Total Condition sq ft | Avg Ceiling Height | Building Volume | Manual Building Volume
|  | 750 | 350 |  | 1100 |  | 9175
Ceiling Height |  | 8.5 | 8 |  |  | 8.3409
| Side Length |  | Front/Back
# of Stories | 1.5 | Occupants | 1 | Bedrooms | 2
AIR INFILTRATION and MINIMUM VENTILATION LEVEL
| MVL Based on Volume |  | MVL based on Occupants |  | MVL based on bedrooms |  | MVL
| Volume | MVL | Occupants | MVL | bedrooms | MVL | Most Restrictive MVL:
| 9175 | 53.5208 | 1 | 15 | 2 | 45 | 53.5208
N Factor | Stories | Height Corr. | N Hc | MVL | BASCFM50 | 70% of BAS | CFM50 | % of BAS | ACH50 | ACHn | CFMn
20 | 1.5 | 0.89 | 17.8 | 53.5208 | 952.6708 | 666.8696 | 6500 | 682.3% | 42.5068 | 2.388 | 365.1685
AIR LEAKAGE & BLOWER DOOR TEST
House Baseline Pressure |  | 0.1 | Ring | Open | Fan Pressure | -65 | CFM 50 | 6500 | Estimated Reduction |  | 1000
House Pressure |  | 50 | CRF Factor |  |  | Adjusted CFM50 |  | 0 | Qualitative Leakiness
DISTRIBUTION & DUCT LEAKAGE TEST
Duct System | Duct Part | % of System Location | Location | Conditioned Space | R-Value | Type |  |  | Duct Leakage Test Data
[7 empty] | Ring |  |  | % Sqft | #VALUE!
[7 empty] | House Pressure |  |  | 50% Goal | #VALUE!
[7 empty] | Fan Pressure |  |  | 10% of area | 110
[7 empty] | Initial CFM@50 |  |  | Est Reduction
Notes | [6 empty] | Qualitative Leakiness |  |  | Return | Supply
Split Test
[7 empty] | Notes (include CRF) |  | All ducts in conditioned space
| Primary Heating System #1 |  |  | Secondary Heating System #2 |  |  |  | Exhaust Fan #1 | Fan #2 | Fan #3 | Fan #4
Location | Basement |  | Location |  |  |  | Location
Brand |  |  | Brand |  |  |  | Connected?
Type | Atmospheric pilot |  | Type |  |  |  | Tested cfm
Fuel | Gas |  | Fuel
Model # | 3204-80HD |  | Model # |  |  |  |  | Moisture / Air Quality Issues
Serial # | F2974CN3D008-003116 |  | Serial #
Age | 1974 |  | Age
Condition | Poor |  | Condition
Input Btu |  |  | Input Btu
Output Btu |  |  | Output Btu |  |  |  |  | AC / Heat Pump Info
AFUE/HSPF |  |  | AFUE/HSPF
Flue | Orphaned |  | Flue
Notes |  |  | Notes
% Space |  |  | % Space
% Load |  |  | % Load
DOMESTIC HOT WATER
| Primary DHW #1 |  |  | Secondary DHW #2 |  |  |  | Notes on Heating and Ducting / DHW / Flue and Chimney
Location | Basement |  | Location
Type | Tank |  | Type
Brand |  |  | Brand
Fuel | Gas |  | Fuel
Age | 2006 |  | Age
Condition | Fair |  | Condition
Model # | BFG1F4034T3NOV |  | Model #
Serial # | 0822T427732 |  | Serial #
Gallons | 50 |  | Gallons |  |  |  |  | Exterior Inspection Notes
Input Btu |  |  | Input Btu
EF |  |  | EF
Flue | Orphaned |  | Flue
Temp |  |  | Temp
Solar Assist |  |  | Solar Assist
COMBUSTION APPLIANCE ZONE TESTING (TEST IN)
| Outside | Minimum Draft Pressure (Pa) |  |  |  | CAZ Depressurization Limits
[6 empty] | Orphan natural Draft Water Heater |  |  |  |  | -2
| <10˚F | -2.6 |  |  |  | Natural Draft boiler or furnace with damper commonly vented with water heater |  |  |  |  | -3
| 0 |  |  |  |  | Natural Draft boiler or furnace commonly vented with water heater |  |  |  |  | -5
| >90˚F | 0.5 |  |  |  | Individual natural draft boiler or furnace |  |  |  |  | -5
[6 empty] | Induced draft boiler or furnace commonly vented with water heater |  |  |  |  | -5
[6 empty] | Power vented or induced draft boiler or furnace alone, or fan assisted DHW alone |  |  |  |  | -15
All Electric Appliances? |  | NA |  |  |  | Chimney-top draft inducer; exhausto type; high static pressure flame retention head |  |  |  |  | -50
[6 empty] | Direct vented appliances; Seal Combustion appliances |  |  |  |  | -50
Gas Leaks |  | Fail
Gas Leak Location |  | Water Heater
PTCS (Air Handler On Effect)
Location | Baseline | Worst Case | Net | BPI Limit | Ambient CO | Pass/Fail |  | Doors Open | Net | Doors Closed | Net
House | 0.1 |  |  |  | 0 |  | House
CAZ #1 | -0.7 | -0.9 | -0.2 | -2 | 0 | Pass | CAZ 2
CAZ #2 |  |  | 0 |  |  |  | CAZ 3
Appliance | Location | Spillage W | Spillage N | Draft (Pa) | CO | Pass/Fail | SSE | Stack Temp | O2 | Sealed | Other
Heating #1 | Basement | Pass |  | -2 | 2011 | Pass |  |  |  | No
Heating #2
DHW #1 | Basement | Pass |  | -1.6 | 24 | Pass |  |  |  | No
DHW #2
Other
Other
| Location | Fuel | Vented | CO | notes | Pass/Fail |  |  | Return | Supply | Total
Oven | [6 empty] | Temp Rise |  |  |  | 0
Dryer | [6 empty] | Static Pressure |  |  |  | 0
Other
| Carbon Monoxide Detector Installed |  |  | Location |  |  |  |  | System Airflow (CFM)
| No | [5 empty] | Calculated Airflow
Measure Airflow
| Notes from CAZ Testing | [7 empty] | Heat Exchanger Inspection
Will install CO Monitor when job is complete
INSULATION ROOF/ATTIC
Location | Insulation | Square Ft | Existing R | Inches | Quality | Open/Enclosed | Cavity Size | Proposed R | Proposed | Notes / Pressure differential diagnosis
Ceiling Flat | None | 464 | 0 | 0 | NA | Open | 2X4 | 49 | Cellulose | Must access from exterior wall
Kneewall | None | 256 | 0 | 0 | NA |  | 2X4 | 19 | Fiberglass Batt | Must access from exterior wall
Ceiling Flat |  | 100 | [5 empty] | 49 | Cellulose | back addition must access from exterior roof
Attic Total square feet |  | 820 | [5 empty] | NFA Venting | 0
INSULATION FLOOR
Location | Insulation | Square Ft | Existing R | Inches | Quality | Open/Enclosed | Cavity Size | Proposed R | Proposed | Notes / Pressure differential diagnosis
Crawl Ceiling | Fiberglass Batt | 104 | 6 | 6 | Poor |  | 2X8 | 30 | Fiberglass Batt | remove old batts
Rim Joist | None | 43 | 0 |  |  |  | 2X8 | 14 | Foam Board | foam board w spray foam attic floor perimeter floor
Rim Joist | None | 85 | 0 |  |  |  | 2X8 | 14 | Foam Board | Main house rim joist foam bd w spray foam
Floor Total square feet |  | 232 | [5 empty] | Ground Cover |  | Pipe Wrap
INSULATION WALLS
Location | Insulation | Total Square Ft | Existing R | Inches | Quality | Open/Enclosed | Cavity Size | Proposed R | Proposed | Notes / Pressure differential diagnosis
Main Floor | None | 735 | 0 | 0 | NA |  | 2X4 | 13 | Cellulose | 1222 sq ft total before doors and windows
Gable Ends | None | 110 | 0 | 0 | NA |  | 2X4 | 13 | Cellulose
Pony Wall | None | 217 | 0 |  |  |  |  | 13 | Cellulose | below rim joist above fnd wall 3' high
Walls Total square feet |  | 1062
* Wall areas are entered as total area before doors and windows subtracted. Please note otherwise*
WINDOWS / DOOR
Quantity | Building Face | Height (in.) | Width (in.) | Total (sqft) | Type | Panes/Frame | Notes |  | Non Energy Items / General Assessment Notes
0
0
0
0
0
0
0
0
0
0
0
0
[6 empty] | Total Wall Area | 1062
Total # of Windows |  | Total H | Total W | Total area (sq ft) | % of walls | Notes
0 |  | 0 | 0 | 0 | 0%
* Required if recommending windows or wall insulation *
ATTIC VENTILATION
High Circular Vents | [9 empty] | 1/2 mesh
Qty | Diameter (in) |  | GFA (ft2) | Screen | SF | Louver | SF | NFA (ft2) |  | 1/4 mesh
6 | 8 |  | 2.0944 | 1/8 mesh | 1.25 | No | 0 | 1.6755 |  | 1/8 mesh
| these are existing |  | #VALUE! |  |  |  |  | #VALUE!
|  |  | #VALUE! |  |  |  |  | #VALUE! |  | 1/16 mesh
High Rectangular (and Ridge) Vents | [9 empty] | Yes
Qty | Height | Width | GFA (ft2) | Screen | SF | Louver | SF | NFA (ft2) |  | No
|  |  |  | 1/8 mesh | 1.25 | No | 0
|  |  |  | Total Lower NFA |  |  |  | #VALUE!
Lower Circular Vents
Qty | Diameter (in) |  | GFA (ft2) | Screen | SF | Louver | SF | NFA (ft2)
|  |  | #VALUE! | 1/8 mesh | 1.25 | No | 0 | #VALUE!
Lower Rectangular Vents
Qty | Height | Width | GFA (ft2) | Screen | SF | Louver | SF | NFA (ft2)
4 | 4 | 16 | 1.7778 | 1/8 mesh | 1.25 | No | 0 | 1.4222
| to be installed |  | #VALUE! |  |  |  |  | #VALUE!
|  |  |  | Total Lower NFA |  |  |  | #VALUE!
Attic Net Free Area Ventilation Requirements
Attic ft2 |  | NFA Required |  | Total | To Add
|  | #VALUE! |  | #VALUE! | #VALUE!
UTILITY BILL / BASELOAD INFORMATION
Electric
Electric Utility Provider |  | PGE |  | $/kwh = | 0.1
| January | February | March | April | May | June | July | August | September | October | November | December
Avg Daily Usage
Monthly Usage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Year Usage |  | 0 | Estimated Yearly Cost |  | 0
Gas
Gas Utility Provider |  | NWN |  | $/Therm = | 1.4
| February | March | April | May | June | July | August | September | October | November | December | January
Avg Daily Usage
Monthly Usage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Year Usage |  | 0 | Estimated Yearly Cost |  | 0
Baseload Appliances
Type | Quantity | Condition | Year

## Findings Report
Home Performance Findings Report
| Test In Date | 2011-12-02 |  | Year Home Built | 1912
| Customer Name |  |  | Conditioned Area (sqft) | 1100
| Address |  |  | Primary Heating Fuel | Gas
| City | Portland | 97206
Phone
| Contractor | GreenSavers |  | Gas Utility | NWN
| Address | 3637 NE Sandy Blvd. |  | Electric Utility | PGE
| City | Portland | 97232
| Phone | 503.223.8767
| BPI Technician | David Fittipaldi
| Energy Advisor | Ted Weintrout
Energy Savings Measure |  | Type |  |  | Rating | Recommended
Attic Insulation |  | None |  |  | 0 | R 38 to R50
Wall Insulation |  | None |  |  | 0 | R 11 to R 21
Floor Insulation |  | Fiberglass Batt |  |  | 6 | R 30 or fill cavity
Duct Insulation |  | 0 |  |  | 0 | R11 rigid or R8 Flex
Duct Leakage (CFM50) |  | 0 |  |  |  | 110
Air Leakage (CFM50) |  |  |  |  | 6500 | 952.6708
Windows |  | Single Wood |  |  | U=0.90 | U Rating 0.25 or less
Heating System (Type & Efficiency) |  | 1974 | Gas | Atmospheric pilot | 0 | 90 AFUE Gas or 9 HSPF Heat Pump
Hot Water Heating (Type & Efficiency) |  | 2006 | Gas | Tank | 0 | .67 EF Gas or .93 EF Electric
Additional Measures

## Lists (hidden)
Column1 |  | platform | wood | Column1 | Column1 | Gas | Fireplace | High | Single Wood | U=0.90 | Wood | Good | None | Low | Conditioned | Conditioned | 1 | Open |  | Return Grill | Open | 0 | Basement | Column1 | Ceiling Flat | <2x4 | Open | Tank |  | Wood | Central | new | Composite | Mike Gilbert | Basement Ceiling | Main Floor | Bathroom | Column1 | Reg Velocity | Supply |  | Gas Meter | 0 | Column1 | Sealed
Yes | 1 | balloon | masonry | front | North | Electric | Woodstove | Low | Double Wood | U=0.49 | Vinyl | Fair | <R18 | Medium | Unconditioned | Unconditioned | 1.5 | A | 0% | Air Handler | 1 | 2 | Garage | None | Slope | 2X4 | Enclosed | Tankless | Imagine Energy | Hardiplank | Wall unit | 5 years | Metal | Shawn Oneill | Crawl Ceiling | 2nd Floor | Kitchen | -2 | High Velocity | Return | Atmospheric pilot | Gas line Outside | 1 | 0 | Power vent
No | 2 |  |  | back | South | Oil | Gas insert | Code | Triple Wood | U=0.39 | Metal | Poor | R18 - R39 | High | Partial | Slab | 2 | B | 10% |  | 2 | 4 | Crawlspace | None | Vault | 2X6 |  | Solar | Green Home-Eco Tech | Cedar shake | Window unit | 10 years | Masonry | Jason Elton | Crawl Walls | Gable Ends | Garage | -3 | ECM Regular | None | Atmospheric ignition | Gas line Inside | 2 | 2 | B vent
NA | 3 |  |  | left | East | Wood | Gas Log | None | Single Metal | U=1.31 |  | NA | >R38 |  | Daylight | None | 2.5 |  | 25% |  | 3 | 6 | Attic | Fiberglass Batt | Rafter | 2X8 |  |  | Home Visions West | Vinyl | None | 15 years | Asphalt | Zane Goff | Garage Ceiling | Dormer | Living | -5 | ECM High |  | Induced Draft | Heating system | 3 | 4 | Single wall
| 4 |  |  | right | West | Propane | Pellet Stove |  | Double Metal | U=0.87 |  |  |  |  | None |  | 3 |  | 50% |  |  | 8 | Closet | Fiberglass Blown | Kneewall Flat | 2x10 |  |  | Bull Mtn Mechanical | Aluminum |  | 20 years | Flat | Cameron MacLean | Overhang | Addition | Laundry | -5 | Gravity |  | Condensing | Water Heater | 4 | 6 | Disconnect
| 5 |  |  | above | NE |  | Propane |  | Double Vinyl | U=0.46 | [8 empty] | 75% |  |  | 11 | Exterior | Cellulose | Kneewall | 2x12 |  | Gas Tank | Home Energy Life Performance | Brick |  | 25 years | Plastic | James Sutton | Porch | Garage Wall | Utility | -5 | Ductless |  | Heatpump | Fireplace | 5 | 8 | Common Vent
| 6 |  |  | below | NW |  | None |  | Triple Vinyl | U=0.36 | [8 empty] | 90% |  |  |  | Laundry | Vermiculite | Crown |  |  | Electric Tank | Heat Relief | Stucco |  | 30 years | Shake | Tom Walther | Rim Joist | Pony Wall | Hallway | -15 | Shared |  | Wall Unit | Oven | 6 | 10 | Orphaned
| 7 |  |  | none | SE |  |  |  | Other | NA | [8 empty] | 100% |  |  |  | Interior | Rock Wool | Storage Area |  |  | Tankless | Green Energy Solutions Inc | Masonry |  |  |  | Ted Weintraut | Slab | Skylight Wall | Basement | -50 |  |  | Baseboard Resistance | none | 7 | 11 | NA
| 8 |  |  |  | SW | [18 empty] | Foam Board | Gable Ends |  |  |  | Chick of All Trades | Asbestos |  |  |  | Devin Moeller | Foundation Walls |  | Bedroom |  |  |  | Resistance FA |  | 8 | 13
| 9 | [22 empty] | Open Cell Foam |  |  |  |  | Green Hammer |  |  |  |  | Dean Evans |  |  | None |  |  |  | Ductless Heatpump |  | 9 | 14
| 10 | [22 empty] | Closed Cell Foam |  |  |  | Gas Furnace | Sustainable Solutions |  |  |  |  | Bill Krauss | [6 empty] | Gravity |  | 10 | 15
|  | Solar Pool |  | Pass | Pass |  | NWN | Pacific | Fixed |  |  |  | Quick QR |  | Rigid Metal | [8 empty] | Denim |  |  |  | Heat Pump | Green Savers |  |  |  |  | Andy Kuss | [6 empty] | Hydronic Radiant |  | 11 | 16
|  | Solar DHW |  | Fail | Minor |  | Cascade | PGE | Patio Door |  |  |  | Full QR |  | Metal Flex | [8 empty] | Other |  |  |  |  | Hammer and Hand |  |  |  |  | Shastan Shannon | [6 empty] | Hydronic FA |  | 12 | 18
|  | Solar PV |  | NA | Major |  | Avista | PUD | 2 Lite Slider | [5 empty] | Plastic Flex | [13 empty] | Abacus Energy Solutions |  |  |  |  | Michael Newcomb | [6 empty] | Other |  | 13 | 19
|  | None |  |  | NA |  |  |  | 3 Lite Slider | [5 empty] | Ductboard | [6 empty] | Fiberglass | Basement |  | Vented/Unconditioned |  |  |  | Faison Construction | [13 empty] | 14 | 20
Portland | [8 empty] | Fixed Center Casement | [5 empty] | Mixed | [6 empty] | Flex duct | Crawlspace |  | Unvented/Conditioned |  |  |  | Balanced Energy Solutions | [13 empty] | 15 | 21
Beaverton |  | Interstate URA | [6 empty] | Single Vent Casemnet | [12 empty] | None | Attic |  | Vaulted |  |  |  | Neil Kelly | [13 empty] | 16 | 24
Hillsboro |  | Lents Town Center URA | [6 empty] | Double Vent Casement | [13 empty] | Interior |  | Flat |  |  |  | Verde Energy | [14 empty] | 26
Gresham |  | Outside of URA | [6 empty] | Single Hung | [5 empty] | Building Building | [7 empty] | Exterior Wall | [5 empty] | Good Energy Retrofit | [14 empty] | 28
Troutdale | [8 empty] | Double Hung | [13 empty] | Other | [5 empty] | Energy Comfort & Construction | [14 empty] | 30
Happy Valley | [8 empty] | Single Vent Awning | [5 empty] | Pressure (Pa) | CRF |  | Central | [10 empty] | JB Insulation | [14 empty] | 32
Milwaukie |  | Daily Usage |  |  | North | [9 empty] | 48 | 1.03 |  | Evaporative | [10 empty] | Sensible Energy Solutions | [14 empty] | 34
Tigard |  | Monthly Usage |  |  | South | [9 empty] | 46 | 1.06 |  | Windows Units | [10 empty] | Alpha Energy Savers | [14 empty] | 38
Lake Oswego |  |  |  |  | East |  |  |  | Refridgerator | [5 empty] | 44 | 1.09 | [12 empty] | Energy Solutions Unlimited | [14 empty] | 40
Tualatin |  |  |  |  | West |  |  |  | Freezer | [5 empty] | 42 | 1.12 | [12 empty] | Northwest Infared | [14 empty] | 45
King City | [8 empty] | Hot Tub / Spa | [5 empty] | 40 | 1.16 | [12 empty] | Richart Family | [14 empty] | 49
West Linn | [8 empty] | Pool | [5 empty] | 38 | 1.20 | [12 empty] | Coho Construction
|  |  | Very Leaky |  |  | Exterior Walls |  |  | Well Pump | [5 empty] | 36 | 1.24 | [12 empty] | Four Walls
|  |  | Leaky | Leaky |  | Floor / Crawlspace Ceiling |  |  | Outdoor Water Feature | [5 empty] | 34 | 1.28 | [12 empty] | Windows Only
|  |  | Average | Average |  | Attic Flat |  |  | Pump | [5 empty] | 32 | 1.34
|  |  | Tight | Tight |  | Kneewalls |  |  | Machine Shop | [5 empty] | 30 | 1.39
|  |  | Very Tight |  |  | Slope / Vault |  |  | RV connected | [5 empty] | 28 | 1.46
|  |  | Extremely Tight |  |  | Rim Joist |  |  | Computer Equipment | [5 empty] | 26 | 1.53
[15 empty] | 24 | 1.61
[15 empty] | 22 | 1.71
[15 empty] | 20 | 1.81
[15 empty] | 18 | 1.94
[15 empty] | 16 | 2.10
[15 empty] | 14 | 2.29
[15 empty] | 12 | 2.53
[15 empty] | 10 | 2.85
Access Install - Attic
Access Install - Basement
Access Install - Crawlspace
Access Install - Kneewall
Asbestos Mitigation
Chimney Damper
Chimney Repair
CO Detector
DHW Seismic Strap (Existing Unit)
Door Install - Exterior
Door Repair
Dryer Exhaust Ducting
Metal Ductwork Additions/repair
Flexduct Additions/repair
Electrical Circuit Updates Required for DHW or Heating System Install
Electrical Service Panel Upgrade
Equipment Flue correction(s)
Gas Line Extension/repair
Gutter repair
Human Contact Barrier
Insulation Baffles/dams - Attic
Insulation Baffles/dams - Kneewall
Insulation Removal - Attic
Insulation Removal - Basement/crawlspace
Insulation removal - Ducts
Insulation Removal - Exterior Wall
Insulation removal - Kneewall & Rake
Knob & Tube decommission
Knob & Tube decommission(no walls)
Lead Paint Mitigation Exterior (removal)
Lead Paint Mitigation Interior (removal)
Light Fixture Install/replace
Moisture Mitigation - Above Grade Exterior
Moisture Mitigation - Above Grade Interior
Moisture Mitigation - Attic/kneewall
Moisture Mitigation - Below Grade Exterior
Moisture Mitigation - Below Grade Interior
Non-structural repair
Pest Control
Plumbing repair
Radon Mitigation
Roof Repair
Service call on unit - DHW
Service call on unit - Heating
Siding Removal/repair - Exterior
Solar Tube install
Storage framing - Attic
Structural repair
Vapor Barrier - Attic
Vapor Barrier - Crawlspace
Vapor Barrier - Knee Wall
Vent (Passive) - Attic
Vent (Passive) - Crawlspace
Vent (Passive) - Kneewall
Ventilation - HRV
Ventilation - Mechanical BPI recommended or required
Ventilation - Mechanical
Vent - Makeup Air for Combustion Appliances
Wall Repair - Interior
Water Pipe Wrap
Window Repair
Clean Crawl

## Quality Review EA
Clean Energy Works Oregon Quality Review
Test In Date |  | 2011-12-02 |  |  | Test Out Date |  |  | QR Results |  | Pass
Location
QR Advisor |  | Dan Saddler | [5 empty] | CAZ Results |  | Pass
Contractor |  | GreenSavers
Customer Name | [5 empty] | Type of Quality Review |  |  |  | Quick QR
Address
City |  | Portland |  |  |  | Date Confirmation of QR Corrections
Zip Code |  | 97070
Phone Number
Project ID# |  | 3118
| Outside | Minimum Draft Pressure (Pa) |  |  |  | CAZ Depressurization Limits
| Temp (˚F) |  |  |  |  | Orphan natural Draft Water Heater |  |  |  |  | -2
| <10˚F | -2.5 |  |  |  | Natural Draft boiler or furnace with damper commonly vented with water heater |  |  |  |  | -3
[6 empty] | Natural Draft boiler or furnace commonly vented with water heater |  |  |  |  | -5
| >90˚F | -0.5 |  |  |  | Individual natural draft boiler or furnace |  |  |  |  | -5
[6 empty] | Induced draft boiler or furnace commonly vented with water heater |  |  |  |  | -5
[6 empty] | Power vented or induced draft boiler or furnace alone, or fan assisted DHW alone |  |  |  |  | -15
All Electric Appliances? |  | Yes |  |  |  | Chimney-top draft inducer; exhausto type; high static pressure flame retention head |  |  |  |  | -50
[6 empty] | Direct vented appliances; Seal Combustion appliances |  |  |  |  | -50
Gas Leaks |  | No
Gas Leak Location
PTCS (Air Handler On Effect)
Location | Baseline | Worst Case | Net | BPI Limit | Ambient CO | Pass/Fail |  | Doors Open | Net | Doors Closed | Net
House | -1.2 |  | 1.2 |  |  |  | House
CAZ #1 | 1 |  | -1 |  |  |  | CAZ 2
CAZ #2 |  |  | 0 |  |  |  | CAZ 3
0
Appliance | Location | Spillage W | Spillage N | Draft (Pa) | CO | Pass/Fail | SSE | Stack Temp | O2 | Sealed | Other
Heating #1
Heating #2
DHW #1
DHW #2
Other
Other
0
| Location | Fuel | Vented | CO | Ambient CO | Pass/Fail |  |  | Return | Supply | Total
Oven | [6 empty] | Temp Rise |  |  |  | 0
Dryer | [6 empty] | Static Pressure |  |  |  | 0
Other
[6 empty] | 0 |  |  | System Airflow (CFM)
| Carbon Monoxide Detector Installed |  |  | Location |  |  | Calculated Airflow
Measure Airflow
BTU Output
Air Leakage Calculations | [5 empty] | Duct Leakage Calculations
| Baseline Pr | Fan Pr | Ring | CFM 50 |  |  | Fan Pressure | Ring | CFM 50
Test In | 0.1 | -65 | Open | 6500 |  | Test In |  | 0
Test Out | [5 empty] | Test Out
Air Leakage Reduction CFM 50 | [5 empty] | % of Floor Area |  | Reduction | #VALUE!
70% BAS | 666.8696 | BAS |  | 952.6708 |  | Acceptable CFM 50 reduction
Acceptable CFM 50 reduction | [5 empty] | Estimated |  | % of estimated | #VALUE!
ACH 50 | Test In | 42.5068 | Test Out
ACHn | Test In | 2.388 | Test Out
Test Out CFMn
MVL |  |  |  | 53.5208
Mech. Ventilation Required (CFMn) |  |  |  | none
Estimated | 1000 | % of estimated |  | #VALUE!
Ventilation CFM |  | Hours / day Required
Notes:
Installed Measures QC
Attic Insulation
| Attic Insulation is R-38 or better | [6 empty] | (AT 1.0)
| Attic Insulation square footage installed is accurate within 10%. | [6 empty] | (Quality Control Standards)
| Insulation Installed between Conditioned and Unconditioned Space | [6 empty] | (AT 2.0)
| Adequate Passive Ventilation Installed. Separate Attic spaces need their own NFA calculation | [6 empty] | (AT 1.3)
| Air penetrations between attic and conditioned space have been sealed | [6 empty] | (AT 1.1)
| All vapor barriers face conditioned/living space | [6 empty] | (AT 2.2)
| No vapor barrier trapped between insulation layers | [6 empty] | (AT 2.0)
| Heat producing fixtures properly baffled. (non IC rated light/fan/heater, metal flue, chimney, transformer) | [6 empty] | (AT 1.6)
| Exhaust Fans Properly ducted to exterior with approved method | [6 empty] | (AT 1.7, 1.8, 1.9)
| Baffles in Eaves Vents with rigid material. Approved material and fasteners extended 4 inches above insulation. | [6 empty] | (AT 1.4)
| Access hatch insulated to R30 and weather-stripped | [6 empty] | (AT 1.11)
| Access hatch dammed with approved material | [6 empty] | (AT 1.11)
| Active knob and tube wiring or other exposed wiring approved | [6 empty] | (AT 1.2)
| Human Contact areas covered | [6 empty] | (AT 1.1)
| Exterior Insulation R-19 or better. | [6 empty] | (AT 2.9)
| Foam insulation complies with ignition barrier requirement | [6 empty] | (AT 2.3)
| Exterior access doors weather and vermin proof | [6 empty] | (AT 1.13)
| Knee wall cavities insulated between conditioned and unconditioned space to R15 or better | [6 empty] | (AT 1.14)
| Knee wall insulation covered with vapor permeable air barrier | [6 empty] | (AT 1.14)
| Knee wall access R-15 or R5 core door. Weather-stripped | [6 empty] | (AT 1.14)
| Blocking Installed under knee walls | [6 empty] | (AT 2.8)
| Skylights Framing insulated to R15 | [6 empty] | (AT 1.14)
| Pull down stairs R-10 and weather-stripped | [6 empty] | (AT 1.12)
| Insulation cavity filled under storage | [6 empty] | (AT 2.4)
| Dams installed where insulation is at different levels | [6 empty] | (AT 1.5)
| Water lines in Attic are insulated | [6 empty] | (AT 1.10)
| Vented Vaulted Ceiling has 1 inch air space | [6 empty] | (AT 2.6)
| Unvented Vaulted Ceiling is tightly packed with insulation | [6 empty] | (AT 2.7)
| No Moisture present in attic cavity | [6 empty] | (BPI)
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Floor Insulation
| Insulation Installed between Conditioned and Unconditioned Space | [6 empty] | (UN 1.0)
| Floor Insulation square footage installed is accurate within 10%. | [6 empty] | (Quality Control Standards)
| All Floor penetration sealed | [6 empty] | (UN 1.4)
| Floor Insulated between R21 - R30 and Filled Cavity. All insulation touching floor and secure | [6 empty] | (UN 1.0)
| Vapor Barriers Facings conditioned space | [6 empty] | (UN 2.0)
| Approved Wood Lath/Twine/ or Wire Supporting Material and Fasteners | [6 empty] | (UN 2.1)
| Approved spacing for supports | [6 empty] | (UN 2.2)
| Ground Cover Installed and continuous. 6mil black polyethylene | [6 empty] | (UN 1.3)
| Water Pipe are insulated to R3. Continuous and supported | [6 empty] | (UN 2.3)
| Access hatch insulated R25, side doors R15. Securely fastened and weather-stripped. | [6 empty] | (UN 2.4)
| Outside access sealed or screened and secure | [6 empty] | (UN 2.5)
| Crawlspace walls between conditioned and unconditioned space insulated to R15 | [6 empty] | (UN 2.8)
| Human Contact Areas Covered | [6 empty] | (UN 2.8)
| Dryer vents or exhaust vents hard ducted and dedicated, supported | [6 empty] | (UN 2.6 and 2.7)
| Proper ventilation NFA | [6 empty] | (UN 1.2)
| No Standing Water, Water leaks, Decay, or Debris | [6 empty] | (UN 1.0 and 1.1)
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Rim Joist
| All accessible air leaks sealed | [6 empty] | (UN 2.9)
| Insulation Cavity Filled and R 15 | [6 empty] | (UN 2.9)
| Insulation covered | [6 empty] | (UN 2.9)
| Foam insulation complies with ignition barrier requirement | [6 empty] | (AT 2.3)
| Rim Joist Insulation square footage installed is accurate within 10%. | [6 empty] | (Quality Control Standards)
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Wall Insulation
| Infrared camera verified that wall cavities are filled | [6 empty] | (WA 1.2)
| Closed walls insulated between conditioned and unconditioned space to R11 or higher | [6 empty] | (WA 1.0)
| Wall Insulation square footage installed is accurate within 10%. | [6 empty] | (Quality Control Standards)
| Exterior siding sealed and repaired where disturbed | [6 empty] | (WA 1.4)
| Plugs sealed and waterproofed | [6 empty] | (WA 1.3)
| Open walls insulated to R15 or filled cavity and covered with vapor perm barrier | [6 empty] | (WA 1.5)
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Duct Sealing and Insulation
| Approved Duct Leakage Reduction that meets ETO requirements and within 20% of modeled estimated reduction | [6 empty] | (DS 1.1 AND 1.2)
| Duct work is in unconditioned space | [6 empty] | (Quality Control Standards)
| Ducts properly sealed with mastic or approved material | [6 empty] | (DS 1.5)
| No sagging or poorly supported ducts. | [6 empty] | (DS 1.4)
| All inferior sections of ducting were repaired or replaced | [6 empty] | (DS 1.3)
| CO Monitor Installed | [6 empty] | (DS 1.8)
| Air Handler Effect Test Pass | [6 empty] | (DS 1.7)
| Insulation R11 rigid ducts R8 flex | [6 empty] | (DU 1.0)
| Duct insulation supported | [6 empty] | (DU 1.2)
| Human contact areas covered | [6 empty] | (DU 1.2)
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Air Sealing
| Approved Air Leakage Reduction that meets ETO requirement and within 20% of modeled | [6 empty] | (AS 1.1 and 1.2
| Address all accessible air sealing opportunities | [6 empty] | (AS 1.0)
| CO Monitor Installed | [6 empty] | (AS 1.0)
| Test Out CFM50 is above MVL or cfm50 above 70% of BAS. | [6 empty] | (AS 1.4)
| Mechanical Ventilation Installed if Required | [6 empty] | (AS 1.4) Major
| No major moisture issue present | [6 empty] | (BPI)
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Windows
| U Rating Approved | [6 empty] | (WI 1.1)
| Safety Glazing where required | [6 empty] | (WI 1.9)
| Head Flashing at Exposed Windows | [6 empty] | (WI 1.4)
| Windows operate smoothly | [6 empty] | (WI 1.0)
| Exterior wood caulked and primed | [6 empty] | (WI 1.0)
| Gaps between exterior siding and window are covered and filled | [6 empty] | (WI 1.0)
| Emergency Egress Openings | [6 empty] | (WI 1.12
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Furnace
Correct Model and Serial Number
AFUE Correct
Flue Pipe Joints Sealed and terminates outside of the shell of home.
Furnace and seal combustion intakes installed to local code and manufactures specifications. 50cuft for 1000btu/hr
Condensate pump drained to appropriate location
| No Health or Safety Issues | [6 empty] | (BPI)
Furnace/Heating Unit operating correctly
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Heat Pump
Correct Model and Serial Number
Check Me
HSPF Correct
Heat Pump operating correctly
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Water Heater
Correct Model and Serial Number
Properly Plumbed
No Health or Safety Issues (BPI)
Flue pipe correctly installed
Flue terminates Outside of Shell
Pressure Relief valve installed correctly
Earthquake Strapping Installed
Water Heater Operating correctly
Other
Notes:
0 | Corrective Action Needed |  | Pass
0
Non Energy Items
Non Energy Item on Bid Installed
Notes:
0 | Corrective Action Needed |  | Pass